## Slide 1
PRESENTATION on Fire Safety
By: Hemanta Baral
Director of Operations
Fire Marshal
Date: May 30, 2025 Friday
Time: 3PM to 4PM
Venue: CodAvatar Conference Hall, 5th Floor

## Slide 2
Profile:
Hemanta Baral
(Writer/ICT Consultant)
Masters in Computer Network Security, UK
Over 25+ years experience in ICT sector
www.hemantabaral.com.np

## Slide 4: What is Fire?
Fire is a chemical reaction among heat, oxygen in the atmosphere and some sort of fuel (for example: wood or gasoline).
So, fire needs three elements to occur.
  Heat
  Oxygen
  Fuel

## Slide 5: FIRE Triangle
OXYGEN
+
Combustible (FUEL)
+
HEAT
Combustible
Oxygen
Heat

## Slide 6
Remove the HEAT
Combustible
Oxygen
Heat
Remove the OXYGEN
Combustible
Oxygen
Heat
Remove the COMBUSTIBLE (FUEL)
Combustible
Oxygen
Heat
NO TRIANGLE – NO FIRE
‘a fire can only start
when all 3 are present’

## Slide 7
DON’T LET THIS HAPPEN TO YOUR HOME/OFFICE!

## Slide 8
HOW TO FIGHT WITH FIRE?
Detect: - To Find Actual Sources of Fire.
Protect: - Protect yourself first before to save others.
Fight: - Use Proper Agent to Fight with Fire.
Knowledge of the chemistry of fire is an important factor to use the proper extinguishing agent / equipment

## Slide 9: CAUSES OF FIRE
Incidental/Accidental
(Natural Calamities, Ignorance, etc.)
Negligence
(Unattended Fire, Children, Electricity, etc.)
Intentional
(Vulgarism, Riots, Revenge, etc.)

## Slide 10: FIRE - FIGHTING
Knowledge of the chemistry of fire is an important factor.
Fires have many characteristics. Therefore, the fire-fighters or [user] must be able to recognize these characteristics as well as how to use theproperextinguishing agentor equipment .

## Slide 11: CLASSIFICATION OF FIRE

## Slide 12: Fire Extinguisher Symbols and Agents required to suppress

## Slide 13: CLASS
WOOD – PAPER – PLASTIC-Clothes, etc.

## Slide 14: Water Extinguisher
Used for class ‘A’ fires e.g: wood / paper etc
Direct the jet at the base of the flame and keep it moving across the area of the fire.
Seek out any hot spots after the main fire is extinguished.
A fire spreading vertically should be attached at it’s lowest point and followed upwards.

## Slide 15: CLASS
PETROL – KEROSENE – DIESEL etc.

## Slide 16: Foam Extinguisher
Used for class ‘A’ and ‘B’ fires eg:
Wood, paper, petrol etc
Direct the jet with a gentle sweeping movement, and allow the foam to drop down and lie on the surface liquid.
DO NOT aim the jet directly into the liquid as this will drive the foam beneath the surface and render it ineffective. In addition it may splash the fire to the surrounding area.

## Slide 17: CLASS
ELECTRICALLY IGNITED Invisible, Explosion Type

## Slide 18: Carbon Dioxide Extinguisher
Used for class ‘B’ and ‘C’ fires eg: petrol and electrical
DO NOT hold the horn – it becomes extremely cold during use.
DO NOT use in confined spaces as there is a danger of asphyxiation.

## Slide 19: CLASS
METAL FIRE

## Slide 20: Dry powder extinguisher
Used for class ‘A’, ‘B’, ‘C’, ‘D’ fires eg:
Wood, paper, petrol, gas, electrical
Liquid fires – direct the nozzle towards the near edge of the fire. With a rapid sweeping motion drive the fire towards the far edge until extinguished.
Electrical equipment – switch off the apparatus / power supply if possible.

## Slide 21: CLASS
Kitchen FIRE

## Slide 22: Wet Chemical Extinguisher
Used for class ‘A’, ‘B’, ‘C’, ‘K’ fires eg:
Wood, paper, petrol, gas, electrical, kitchen
Kitchen Fires

## Slide 23: FM 200/ NOVEC 1230
Used for Server Room/Data Centre equipment
Novec 1230 is an eco-friendly option that rapidly extinguishes fires by removing heat. It's electrically non-conductive and leaves no residue.
FM200 is a non-flammable gas used for fire suppression. It doesn't damage electronic products, used correctly it's safe for people to breathe in and can be used in an enclosed space, making it ideal for colocation data centers.

## Slide 24: Fire Ball

## Slide 25: Fire Blanket
Ensure you are positioned between the fire and the fire escape route / door.
Pull the tapes to remove the blanket from it’s container.
Hold blanket by the handles and using as a shield to protect your face completely cover the fire.
Turn off the electric / gas supply.
Leave the area closing all fire doors behind you and contact the fire brigade.
DO NOT remove a fire blanket for at least 30 minutes.

## Slide 26
Handheld Extinguishers Types
Class A (Water based)
Suitable for Wood, Cloth, Paper, Plastics etc…
2. Class B (Carbon dioxide or a dry chemical agent)
Suitable for Flammable liquids such as Gasoline, Kerosene and many chemical agents including gases.
3. Class C (Carbon dioxide, Halon, Dry chemical agent)
Suitable for Data Centers and for electrical equipments such as appliances of all kinds, computers, motors…
4. Class D (Dry Powder based)
Suitable for metals such as sodium, lithium, titanium, magnesium etc…)
5. Class K (Liquid chemicals)
- Suitable for Kitchen for fires involving cooking fats and oils

## Slide 28
How to choose right Fire Extinguishers?
Description | A Solid Fire | B Liquid Fire | C Electrical Fire
Water Type | √ |  | 
Foam Type | √ | √ | 
Gas Type |  | √ | √
ABC Type | √ | √ | √
8A: 8 Gallon of Water (8x3.7Ltr. = 29.6 Ltr)
34B: Fire caused by 34 Liter flammable liquids

## Slide 29
How to choose right Fire Extinguishers?

## Slide 30
How to identify branded Fire Extinguishers?
Branded (Authentic and safe)
No external labels for information
No handwritten information (carved)
No manual welding
Locally made (Not authentic and safe)
external labels for information
handwritten information
manual welding

## Slide 31
How to use of Fire Extinguishers?

## Slide 32: In case of Fire

## Slide 33: In case of Fire
EVACUTION FROM FIRE…..

## Slide 34: Fire Detection/Suppression System

## Slide 35: Fire Destruction

## Slide 36
“Matches have heads but no brain,
while you use them use your brain.”
! BEWARE!
TAKE FIRE PREVENTION CARE

## Slide 37: A Quote
“Train people well enough so they can leave. Treat them well enough so they don’t have to.”
– Sir Richard Branson

## Slide 38: Thank you…